 Water / Building & Grounds Report
                                         July 2018
Helped highway with drywells on Goff Rd
Did lead and Copper testing

Flushed 2nd feed coming into hospital installed an auto flush on it

Had a sample come back bad in pinewood did repeat samples all were ok

Changed old meter in Gibson

Changed feed tubes on CL17 in Gibson

Installed meter and turned on service at 2900 main

Fixed entrance to cemetery from rain

Helped highway pave mowed pipelines

Talked with DOH and Jody on Iron sequestering 

Installed what parts we have gotten for fire alarm system in highway

Attended class on playground updated

Milled a trough in parking lot to help keep water from running into shop

Pressure washed pumphouses

