 Water / Building & Grounds Report
                                  July2019
Samples
Marked lots of dig request
Weed wacked around all fire hydrants 
Sprayed weeds 

Helped highway

Cut brush around parks and pumps

Mowed water lines

Fixed hydrants that leaked
Rebuilt chlorine pump for wells 2&3
Changed oil in truck 1

Worked with John S and Jeff Smith on pinewood info.

Installed sign for powerhoude marker

Ditched Dutton and Sherwood roads for highway

Found ac unit broken had service rep look at it said needed a new unit got quotes

