 Water / Building & Grounds Report
                                    Jan 2020
Completed ad filed NYDEC & SRBC water withdrawal for 2019 we produced 296,911,126 gallons we had a 6% unaccounted for(fire use training, flushing) below 10% state is happy
Plowed snow salted lot and walks
Rebuilt mowers

Installed work lights on truck

Removed meter from budget inn

Worked in shop

Cleaned out storage up stairs

Retorqued all bolts on new pinewood pump after 25 hr of use

Meet with Larry Floor on building updated

Meet with insurance co on 2806 Goff rd 

Replaced steering cylinder on fork truck that started leaking

Took backhoe to 5star repair for hyd leak in transmission and on rear spool valve

Helped village with a leak on state rt 225 by Davis used excavator so did not have to close lanes 
